## Slide 1
Retinal Age on a Phone
A mobile clock, its transfer to smartphone images, and the retinal age gap against disease
Oculomics · retinal-age track · 6 – 12 September 2026
5.1 y
MAE, tabletop camera (BRSET), r = 0.92
4.9 y
MAE, smartphone, trained in-domain, r = 0.82
+4.0 y
retinal age gap, referable diabetic retinopathy
Notes: Headline: a 2.8M-parameter mobile network reads age at UK-Biobank-clock accuracy on the tabletop camera; the phone images carry the same signal when the model is trained on them; and the bias-corrected retinal age gap tracks diabetic eye disease on both cameras.

## Slide 2
Two questions
The retina carries age; the label is free; the gap between retinal and real age is a proposed vascular-ageing biomarker
1
Can a 2.8 M-parameter network read age from a fundus photo, on both cameras?
Train only on retinas that are ageing normally; measure on held-out BRSET patients (tabletop, Canon / Nikon) and on mBRSET (smartphone, Phelcom Eyer).
2
Does the corrected retinal age gap track disease?
Patient-level, gradable images only, adjusted for age, age², sex and camera: every clinical label the two datasets carry, prevalence by gap quintile, dose–response trends.
Why this fits the project
The premise is a small network reading clinical signal from an unconstrained phone capture. Age is the cleanest such signal: every retina carries it, and the gap has published links to mortality and vascular disease (Zhu 2023, Poplin 2018).
The design choices that matter: who counts as healthy, how the split avoids leakage, how the clock's own bias is corrected, and how the phone domain is handled.
Notes: Two steps: a clock trained on healthy retinas and measured on both cameras, then the corrected gap against every clinical label at the patient level.

## Slide 3
Data
Two Brazilian fundus datasets with the same clinical labels, different cameras
 | BRSET · tabletop | mBRSET · smartphone
images with an age | 10,820 (5,649 patients) | 5,152 (1,288 patients)
healthy, used for training | 7,413 images, 4,061 patients: no diabetes, DR 0 on every image, adequate quality | DR-0 only (every patient is diabetic): 2,974 images, 747 patients — the in-domain ceiling
excluded from training | diabetes 2,384 · ungradable 963 · DR in a non-diabetic 60 | DR 1,886 · ungradable 292
age | mean 58, wide: 979 patients under 30 | clustered 50 – 79: 8 patients under 30
population | mixed | every patient diabetic
The age-range asymmetry matters twice
It makes r non-comparable across the two sets (a wide range makes the trend easy to see), and it means an mBRSET-trained clock cannot extrapolate to BRSET's young and old tails.
Notes: BRSET is the training set; mBRSET is the phone set. Every mBRSET patient is diabetic, so its healthy rule is DR-grade 0.

## Slide 4
Method
Same loader, FOV crop, augmentation and AdaBN as the DR classifier — only the pixels differ between cameras
Healthy cohort, patient-level
No diabetes, DR grade 0 on every image of the patient (one eye with retinopathy disqualifies the fellow eye), adequate quality. Disease shifts the gap, so the clock never sees it.
Split before filtering
Patient-grouped, age-stratified 70/10/20 drawn over ALL patients; the healthy rule is applied to train and val afterwards. Every diseased image is scorable, and none was trained on.
Recipe and bias correction
MobileNetV4-Small, 384 px, ImageNet init, L1 on standardised age, healthy-val MAE selects the checkpoint. The gap is anti-correlated with age (regression to the mean), so gap = a + b·age is fit on healthy val and subtracted (Beheshti 2019).
Phone domain: calibration and ceiling
Device calibration: age ≈ c + d·pred fit on the phone set's DR-0 patients in two patient-grouped folds, scored out of fold, with its own bias correction. Ceiling: the same network trained on mBRSET's DR-0 patients, scored on held-out phone patients.
Notes: Code: train_retinal_age.py, run_retinal_age.sh, summarize_retinal_age.py, analyze_age_gap.py; 99 synthetic, network-free tests.

## Slide 5
The clock on the tabletop camera
BRSET, three seeds, MobileNetV4-Small at 384 px, 2.8 M parameters
5.07 ± 0.09 y
MAE, 1,488 held-out healthy images
r = 0.92
predicted vs true age, seed SD 0.004
+1.7 ± 0.1 y
corrected gap of excluded patients vs healthy, replicated on 2,727 never-trained images
Chart: MAE (years) by age bin; n = 135 · 133 · 219 · 298 · 319 · 253 · 131
| <30 | 30–39 | 40–49 | 50–59 | 60–69 | 70–79 | 80+
s | 6 | 4.5 | 5 | 4.8 | 4.7 | 5 | 6.5
The tails are one to two years worse (BRSET is 40 – 70 heavy) and the raw gap drifts from +4.6 y in the under-30s to −6.1 y in the 80+, which the bias correction removes. The UK Biobank clocks (Poplin 2018, Zhu 2023) reach 3.3 – 3.6 y on 20 – 40 k images with far larger networks; predicting the mean age gives 14 y.
Notes: Held-out BRSET: MAE 5.07 ± 0.09 y, r 0.920 ± 0.004. Excluded patients read +1.7 y older after correction, consistent between the test slice and the never-trained images.

## Slide 6
Transfer to the smartphone camera
mBRSET, 4,860 gradable images from 1,282 patients — the same network, then the same architecture trained in-domain
Chart: MAE (years) on held-out mBRSET patients
| zero-shot | + AdaBN | device-calibrated | AdaBN + calibrated | in-domain ceiling
s | 14.02 | 9.65 | 8.16 | 8.11 | 4.91
 | MAE | r
zero-shot | 14.0 ± 2.2 | 0.43
+ AdaBN | 9.65 ± 0.18 | 0.42
device-calibrated | 8.16 ± 0.33 | 0.43
AdaBN + calibrated | 8.11 ± 0.07 | 0.41
in-domain ceiling | 4.91 ± 0.37 | 0.82
Read the r column
AdaBN fixes the offset, calibration fixes the scale, and r never moves: neither adds information. The ceiling shows the information is in the phone pixels.
Predicting the mean age on mBRSET gives about 9 y; zero-shot is worse than that.
Notes: Zero-shot: MAE 14.0, r 0.43, offset -9.6 y with seed SD 3.8. AdaBN 9.65 / 0.42. Device-calibrated 8.16 / 0.43. In-domain ceiling trained on mBRSET DR-0 patients: 4.91 / 0.82.

## Slide 7
Why the transfer fails, and what fixes it
Three separate effects, one of which no calibration can touch
Offset
Predictions sit about 8 years too low and the offset varies by seed (SD 3.8 y): a BatchNorm-statistics mismatch, the same mechanism as the DR operating point.
Fixed by AdaBN.
Scale
Raw phone predictions spread 1.6× wider than true age: device variation the model misreads as age. The calibration slope is d = 0.40.
Fixed by device calibration, at the price of predictions shrunk toward the mean.
Information
r stays at 0.43 through both fixes. An in-domain-quality clock scores about 0.8 on this age range; the ceiling reaches 0.82.
Not fixable by calibration. Fixed by training on phone images.
Consequence
Zero-shot transfer of an age clock is not viable. Mixed-domain training — BRSET healthy plus mBRSET DR-0 patients in training, mBRSET's held-out patients for scoring — is the pending v3 sweep. BRSET must stay in the mix: an mBRSET-only clock scores 36 y MAE on BRSET's under-30s, having seen 8 of them.
Notes: The ceiling separates range from information: mBRSET's narrow age range caps r near 0.8, and the ceiling gets there, so the transferred model's 0.43 is lost information.

## Slide 8
The gap against disease: tabletop camera
3,266 BRSET patients with gradable images; adjusted for age, age², sex and camera; reference = healthy held-out patients
Chart: adjusted difference in corrected gap, years older than reference
| macular edema | referable DR | any DR | diabetes | insulin use | AMD
s | 5.07 | 4.03 | 3.5 | 1.87 | 1.76 | 1.53
Effect sizes
Edema d = 0.97, referable DR 0.86, any DR 0.76, diabetes 0.27. Odds of referable DR rise 1.9× per 5 extra years of gap (2.1× for edema). All q < 0.001. AMD is borderline (q = 0.10).
What stays null
Drusen, cup–disc ratio, hypertensive retinopathy, occlusion, haemorrhage, myopia, scar, nevus: the clock responds to diabetic vascular disease specifically. An ungradable image alone is worth +1.5 y, so every table uses gradable images only.
Notes: DR rows are within diabetics. Insulin flips sign under adjustment (unadjusted -0.89) because insulin users are younger: quote adjusted values only.

## Slide 9
Dose–response
Disease prevalence by quintile of the corrected gap, BRSET (Q1 = youngest-looking retinas, Q5 = oldest-looking)
Chart: 
| Q1 | Q2 | Q3 | Q4 | Q5
referable DR (within diabetics) | 13.1 | 15.4 | 15.8 | 31.3 | 55.6
macular edema (within diabetics) | 4.2 | 6.6 | 6.9 | 14.7 | 36.7
diabetes (all patients) | 35.9 | 30.5 | 35.4 | 44.1 | 52.4
13% → 56%
referable DR, youngest to oldest-looking quintile
+1.2 y per grade
DR grade 0 → 4 (grade 0 +0.7, grade 3 +8.3)
+0.76 y per decade
of diabetes duration (ρ = 0.16, p < 0.001)
Notes: Prevalence by quintile is unadjusted and descriptive; the adjusted OR per +5 years is its one-number summary.

## Slide 10
Two clocks on the same phone patients
Adjusted Δ in corrected gap (years) on mBRSET's held-out patients: the transferred clock, device-calibrated, and the in-domain ceiling
exposure | transferred clock (r 0.43, n = 1,282) | in-domain ceiling (r 0.82, n = 904)
insulin use | +1.21 [+0.74, +1.69] | +1.31 [+0.53, +2.08]
any DR | +1.67 [+1.26, +2.09] | +0.43, n.s.
referable DR | +2.31 [+1.87, +2.76] | +0.97 [+0.26, +1.69]
macular edema | +2.79 [+2.21, +3.36] | −0.09, null
diabetes duration, per 10 y | — | +0.83 [+0.46, +1.20]
systemic hypertension | +0.48 [+0.03, +0.93], q 0.10 | +0.69 [−0.08, +1.45], q 0.17
neuropathy (n = 43) | +0.33, null | +2.10 [+0.53, +3.68], q 0.04
nephropathy (n = 32) | +0.26, null | +1.57 [−0.24, +3.39], q 0.17
myocardial infarction, vascular disease, diabetic foot, obesity, smoking, alcohol | null | null (smoking +1.4 and obesity −1.2, both q 0.16)
Crimson: replicated under both clocks. With the transferred clock referable-DR prevalence runs 11 % → 46 % across gap quintiles; the in-domain clock adds +0.42 y per DR grade. An ungradable image reads +2.1 y older on the phone.
Notes: The ceiling's reference group is its DR-0 test partition only (its DR-0 training patients cannot be scored), so its intervals are wider.